## Sheet1
| Index | Variable Name | Value Meaning
/cmd/getalldata | 0 | Ready State | 0=not ready, 1=ready
| 1 | Interlock Signal | 0=green, 1=red
| 2 | Temperature Fault | 0=no fault, 1=fault
| 3 | Shutter State | 0=black, 1=blue
| 4 | Strike Signal 1 | 0=no strike, 1=good
| 5 | Strike Signal 2 | 0=no strike, 1=good
| 6 | PWM Fault Mod 1B
| 7 | PWM Fault Mod 2B
| 8 | Mod 1 Connected | 0=Con, 1=NC
| 9 | Mod 2 Connected | 0=Con, 1=NC
| 10 | Mod 3 Connected | 0=Con, 1=NC
| 11 | Mod 4 Connected | 0=Con, 1=NC
| 12 | Pwr Brd 1 Connected | 0=Con, 1=NC
| 13 | Pwr Brd 2 Connected | 0=Con, 1=NC
| 14 | UnderVoltage Fault
| 15 | OverVoltage Fault
| 16 | DC Sense 1 Fault
| 17 | DC Sense 2 Fault
| 18 | DC Sense 3 Fault
| 19 | DC Sense 4 Fault
| 20 | PWM Fault Mod 1A
| 21 | PWM Fault Mod 2A
| 22 | PWM Fault Mod 3A
| 23 | PWM Fault Mod 4A
| 24 | Current-Charge Fault Board 1
| 25 | Current-Charge Fault Board 2
| 26 | Current-Charge Fault Board 3
| 27 | Current-Charge Fault Board 4
| 28 | Temp Fault Mod 1
| 29 | Temp Fault Mod 2
| 30 | Temp Fault Mod 3
| 31 | Temp Fault Mod 4
| 32 | Flow Fault
| 33 | Humidity Fault
| 34 | PWM Fault Mod 3B
| 35 | PWM Fault Mod 4B
| 36 | DC Voltage 1
| 37 | DC Voltage 2
| 38 | DC Voltage 3
| 39 | DC Voltage 4
| 40 | Switched Voltage 1
| 41 | Switched Voltage 2
| 42 | Switched Voltage 3
| 43 | Switched Voltage 4
| 44 | Current 1
| 45 | Current 2
| 46 | Current 3
| 47 | Current 4
| 48 | Temp 1
| 49 | Temp 2
| 50 | Temp 3
| 51 | Temp 4
| 52 | Humidity Value | Humidity = ((Humidity * ADC_Resolution * 2) - HumidityZeroOffset) / HumidityGain
| 53 | Flow Temp Value | FlowTemp = (FlowTemp/5); Total number of pulses divide by 5 seconds to get pulses per second (Freq) FlowTemp = (1/FlowTemp); 1/x to get period FlowTemp = (FlowTemp/Temp_ScaleFactor); divide period by Temp_ScaleFactor (10usec/degKelvin) to get absolute temperature FlowTemp = (FlowTemp - Temp_Offset) Subtract 273 offset to get actual temperature
| 54 | unused? | This value is commented out but labeled Flow Temp Value 2
| 55 | unused?
| 56 | High Current Fault Mod 1
| 57 | High Current Fault Mod 2
| 58 | High Current Fault Mod 3
| 59 | High Current Fault Mod 4
/cmd/getservicedata | 0 | OnTime (seconds)
| 1 | LaseTime (seconds)
| 2 | UnderVoltage Faults
| 3 | OverVoltage Faults
| 4 | Charge Faults on Mod 1
| 5 | Charge Faults on Mod 2
| 6 | Charge Faults on Mod 3
| 7 | Charge Faults on Mod 4
| 8 | DC Sense 1 Faults
| 9 | DC Sense 2 Faults
| 10 | DC Sense 3 Faults
| 11 | DC Sense 4 Faults
| 12 | PWM Faults on Mod 1A
| 13 | PWM Faults on Mod 2A
| 14 | PWM Faults on Mod 3A
| 15 | PWM Faults on Mod 4A
| 16 | Temp Faults on Mod 1
| 17 | Temp Faults on Mod 2
| 18 | Temp Faults on Mod 3
| 19 | Temp Faults on Mod 4
| 20 | Current Faults on Mod 1
| 21 | Current Faults on Mod 2
| 22 | Current Faults on Mod 3
| 23 | Current Faults on Mod 4
| 24 | Water Flow Faults
| 25 | Humidity Faults
| 26 | Max V in | MaxVin = MaxVin * ADC_Resolution / Voltage_Divider
| 27 | Max Current 1 | MaxCurrent1 = MaxCurrent1 * ADC_Resolution / Cur_Sensitivity;
| 28 | Max Current 2 | See MaxCurrent1
| 29 | Max Current 3 | See MaxCurrent1
| 30 | Max Current 4 | See MaxCurrent1
| 31 | MaxTemp1 | MaxTemp1 = (MaxTemp1/5); Total number of pulses divide by 5 seconds to get pulses per second (Freq) MaxTemp1 = (1/MaxTemp1); 1/x to get period MaxTemp1 = (MaxTemp1/Temp_ScaleFactor); divide period by Temp_ScaleFactor (10usec/degKelvin) to get absolute temperature MaxTemp1 = (MaxTemp1 - Temp_Offset); subtract 273 offset to get actual temperature
| 32 | MaxTemp2 | See MaxTemp1
| 33 | MaxTemp3 | See MaxTemp1
| 34 | MaxTemp4 | See MaxTemp1
| 35 | MaxHumidity | Max_Humidity1 = ((Max_Humidity1 * ADC_Resolution * 2) - HumidityZeroOffset) / Humidity_Gain;
| 36 | unused?
| 37 | Power on Counts
| 38 | PWM Faults on Mod 1B
| 39 | PWM Faults on Mod 2B
| 40 | PWM Faults on Mod 3B
| 41 | PWM Faults on Mod 4B
| Constants | Value
| ADC_Resolution | 0.00061V/bit
| Voltage_Divider | 0.03363
Cur_Sensitivity
| Temp_ScaleFactor | 10usec/degKelvin
| Temp_Offset | 273
HumidityZeroOffset
Humidity_Gain